## Slide 1
UCS321 — EST PROJECT
Malaria Cell Detection
Using a Custom CNN
PyTorch CNN | Weighted Sampling | Grad-CAM Explainability
Biocon Ltd. — Automated Blood Sample Diagnosis
Team Name | College Name | Student Names
27,558
Cell Images
1
CNN Model
93.3%
Test Accuracy
0.983
ROC AUC

## Slide 2
Problem Statement
🌍
Malaria kills 600,000+ people annually — mostly in Africa and South Asia
🔬
Traditional diagnosis requires skilled lab technicians examining blood smears manually
⏱️
Manual diagnosis is slow, error-prone, and unavailable in remote areas
🤖
Deep learning can automate diagnosis with high accuracy and low cost
🎯
Goal: classify cells as Malaria-Infected or Healthy using the notebook CNN model
27,558
Total images
50 / 50
Class balance %
64×64 px
Input resolution

## Slide 3
Dataset Overview
cell_images dataset used by the notebook
27,558 total PNG images
13,779 Parasitized + 13,779 Uninfected
Balanced 50/50 class distribution
Images resized to 64×64 for CNN input
Fast-run sample: 1,000 images (500/class)

## Slide 4
Exploratory Data Analysis
Key EDA Insights
Color and intensity patterns differ between classes
Healthy cells appear more visually uniform in samples
Variable image sizes are standardized to 64×64
Balanced data, with class-weight logic kept in the pipeline
Noise preview supports preprocessing choices before training

## Slide 5
Data Preprocessing & Augmentation
1
Resize
All images → 64×64 px
2
Normalize
Pixels scaled 0.0–1.0
3
Split
70% Train / 15% Val / 15% Test
4
Augment
Flip, rotate, color jitter

## Slide 6
Dataset Split Strategy
Train: 700 (70%)
Validation: 150 (15%)
Test: 150 (15%)

## Slide 7
Model Architecture
One reproducible custom CNN trained in the notebook with Grad-CAM support
Custom CNN
Built from scratch
Conv blocks + BatchNorm + MaxPool
Dense layer + Dropout regularization
Sigmoid output
Optimizer: Adam, LR 0.001
Training Controls
Imbalance-ready setup
Weighted sampler for balanced batches
Class weights in BCE loss
Batch size 16, 4 epochs
Best weights selected by validation AUC
Interpretability
Imbalance-ready setup
Weighted sampler for balanced batches
Final convolution layer retained
Heatmaps show focus regions
Expert review before diagnostic use

## Slide 8
Training Results
Custom CNN
Final validation accuracy: 96.7%; best validation AUC: 0.9918
Training Setup
4 epochs, Adam 0.001, batch size 16, weighted BCE loss
Final Test Result
93.3% accuracy, 94.7% recall, 0.9826 ROC AUC

## Slide 9
Confusion Matrix — Notebook CNN
Correct predictions
TN: 69 TP: 71
False positives
Healthy predicted infected: 6
False negatives
Infected predicted healthy: 4

## Slide 10
ROC & Precision-Recall Curves
Notebook scores
Custom CNN
ROC AUC = 0.9826
Average precision = 0.9856
Threshold
0.50 cutoff
Recall = 94.7%
Clinical view
Lower threshold can reduce misses
Manual review for uncertain cells
High AUC supports screening, but expert validation is still required

## Slide 11
CNN Performance Summary
Metric | Value | Metric | Value | Metric | Value
Accuracy | 93.3% | Precision | 92.2% | Recall | 94.7%
F1-score | 93.4% | ROC AUC | 0.9826 | Avg precision | 0.9856
Test images | 150 | Working images | 1,000 | Threshold | 0.50

## Slide 12
Grad-CAM — Explainable AI
Gradient-weighted Class Activation Mapping — Notebook CNN
What is Grad-CAM?
Generates heatmaps showing WHICH region of the cell the model focused on
Hot colors (red/yellow) = high attention area
Cool colors (blue) = low attention area
For parasitized cells, model highlights the dark parasite spots
Helps medical experts validate and trust predictions
Useful for expert review before clinical use

## Slide 13
Notebook Prediction Flow
Run the trained CNN in notebook memory, then review probability, threshold decision, and Grad-CAM evidence
📤
Step 1
Load Image
Test-set RBC image
⚙️
Step 2
Preprocess
Resize 64×64 → Normalize
🤖
Step 3
CNN Predicts
Single PyTorch CNN
🔥
Step 4
Grad-CAM
Heatmap reviewed
✅
Step 5
Final Label
Infected / Healthy
Notebook cell 45:
test_probs, y_true, test_paths_ordered = predict_loader(model, test_loader)
y_pred = (test_probs >= 0.50).astype(int)

## Slide 14
Conclusion & Future Work
Key Conclusions
Custom CNN achieved 93.3% test accuracy in the notebook run
ROC AUC of 0.9826 shows strong class separation
Grad-CAM helps verify that focus stays inside relevant cell regions
Class weights and weighted sampling make the pipeline imbalance-ready
Model is a classroom baseline and needs expert validation before clinical use
Future Work
Run full-dataset training when runtime permits
Use patient-level holdout split for stronger validation
Add stain normalization across microscopes and labs
Calibrate probabilities and tune threshold for screening
Ask domain experts to review Grad-CAM overlays
"The model supports medical review; it does not replace diagnostic judgment."

## Slide 15
Thank You
Questions & Answers
Dataset: NIH Malaria Cell Images — Kaggle (iarunava)
Model: PyTorch / torchvision — custom CNN baseline
Explainability: Grad-CAM (Selvaraju et al., 2017)
Course: UCS321 — EST Project | Biocon Ltd.
Team Name | College Name | Student Names